## Pharma corex spares
S. No | Spare description | Specifications/ Dimensions | Part Number (from vendor) | Reference Image | Required qty | Customer: If any specific/changes mention here
RSD
1 | 2 way SS head manifold (Hastelloy Thermocouple include) | MOC: Hastelloy Length/Height: 85 cm Thickness/Width:1 mm Any Specific type: K-type Thermocouple | 01-RS-Ha
| 2 way SS head manifold (Stainless steel Thermocouple include) | MOC: SS Length/Height: 85 cm Thickness/Width:1 mm Any Specific type: K-type Thermocouple | 01-RS-SS
| 2 way SS head manifold (Inconel Thermocouple include) | MOC: Inconel Length/Height: 85 cm Thickness/Width:1 mm Any Specific type: K-type Thermocouple | 01-RS-In
2 | 1/16 Hastelloy Pressure line (75 c.m) | MOC: Hastelloy Size: 1/16" (75 c.m) | 02-RS
3 | Replacement Bulkhead fitting for Pressure Transducer | MOC: SS-316 Length:2.5cm Male connector outer dia:0.6 cm Female connector: 1/8" | 03-RS
4 | Reducing union SS316 1/8 to 1/16 Pressure line union connector. | MOC: SS 1/8 male connector(length:0.8cm & Inner Dia: 0.6cm, Outer Dia:0.7Cm) 1/16 male connector(length:0.7cm & Inner Dia: 0.3cm, Outer Dia:0.4Cm) 1/16 female connector | 04-RS
5 | 1/4 to 1/16 Connector for Head Manifold to pressure line | MOC: SS Any Specific type: 1/4 inch to 1/16 inch | 05-RS
6 | Pressure Transducer- 160 bar | Max withstandable pressure: 160bar | 06-RS
7 | Benchwise | NA | 07-RS
8 | 1/4" Nut | MOC: SS Stem size:1/4" Inner dia:1.25 cm Outer dia:1.4cm | 08-RS-N
| 1/4" Nut & Ferrule | MOC: SS Stem size:1/4" Front Ferrule & Back Ferrule | 08-RS-F
9 | 1/8" Nut | Moc: SS Stem size:1/8" Inner dia:1 cm Outer dia:1.25cm | 09-RS-N
| 1/8" Ferrule Set | MOC: SS Stem size:1/8" Front Ferrule & Back Ferrule | 09-RS-F
10 | 1/16" Nut | MOC: SS Stem size:1/16" Inner dia:0.6 cm Outer dia:0.9cm | 10-RS-N
| 1/16" Ferrule Set | MOC: SS Stem size:1/16" Front Ferrule & Back Ferrule | 10-RS-F
ESARC
11 | Bomb Thermocouple Type N Material Insulated | MOC: Hastelloy/SS Length: 65cm Dia: 1mm | 11-AR
12 | 1/16 SS Pressure line (75 c.m) | MOC: SS Size: 1/16" (75 c.m) | 12-AR
13 | 1/4'' to 1/16'' NPT | MOC: SS 1/4 male connector(length:2cm & Inner Dia: 0.8cm, Outer Dia:1.2Cm) 1/16 male connector(length:0.7cm & Inner Dia: 0.3cm, Outer Dia:0.4Cm) 1/16 female connector | 13-AR
14 | 1/8'' to 1/16'' Pressure fitting union | MOC: SS 1/8 male connector(length:0.8cm & Inner Dia: 0.6cm, Outer Dia:0.7Cm) 1/16 male connector(length:0.7cm & Inner Dia: 0.3cm, Outer Dia:0.4Cm) 1/16 female connector | 14-AR
15 | 1 mm nut and ferrule set | MOC: SS 1 Nut/1Front Ferrule/1 Back Ferrule | 15-AR
ARSST
16 | ARS Thermocouple, Hastelloy | Total Length: 8cm's MOC: Hastelloy Thickness: 1mm Plungin type: K-Type | 16-ARS-Ha
| ARS Thermocouple, Stainless steel | Total Length: 8cm's MOC: 316SS Thickness: 1mm Plungin type: K-Type | 16-ARS-SS
| ARS Thermocouple, Inconel | Total Length: 8cm's MOC: Inconel Thickness: 1mm Plungin type: K-Type | 16-ARS-In
17 | ARS Thermocouple, Hastelloy, Straight | Length: 300 mm MOC: Hastelloy Thickness:1mm Plungin type: K-Type | 17-ARS-Ha
18 | ARS Closed Test Cell, Hastelloy thermocouple | Sensor length: 21.2Cms Thickness:1mm Plungin type: K-Type MOC: Hastelloy (includes 1/16" Type K stainless sheath thermocouple, adaptor sleeve and nonmetallic 1/16" ferrules) | 18-ARS-Ha
19 | ARS Test Cell, 10mL | Height: 3.5cm's Diameter of test-cell inlet: 0.7Cm's Weight : ~1.6 grams | 19-ARS
22 | ARS Tubing Connector, 316SS, 1/8" to 1/8" | Type : 1/8" to 1/8" connector MOC: SS | 22-ARS
23 | ARS Tubing Connector, 316SS, 1/8" to 1/4" | Type : 1/8" to 1/4" connector MOC: SS | 23-ARS
24 | ARS Tubing Connector, 316SS, 1/8" to 5/16" | Type : 1/8" to 5/16" connector MOC: SS | 24-ARS
25 | Digital Pressure Calibration Gauge | Company: Comp electronics Model: DPG1000B1000psig-5 Range: 0-1000psig | 25-ARS
26 | 4-way 1/4'' line | 1/4 inches | 26-ARS
Tsu
27 | K TYPE T-COUPLE SINGLE 1.5 200mm-Hastelloy | Temperature Acuuracy : +0.1% (exculding probe error) Battery type : 1.5vAA Enivironment : -10 to 40°C Thick ness: 1.5 mm Length: 200 mm MOC:Hastelloy | 27-TS-Ha
28 | Ball Valve, 2-way, 1/4" | 2-way, 1/4" | 28-ARS
RC1mx
29 | PTFE-stirrer bearing, complete | Top Nut Male connector OD:32mm with 10mm centric hole Screw threading height:5mm Female connector OD:32mm with 20mm centric hole Screw threading height:10mm Total Height: 88mm Bottom OD:24mm with 10mm centric hole | 29-RC
30 | Stirrer shaft Alloy C-22, 460mm | Length: 460mm Dia: End fitting: Male | 30-RC
31 | Pitch blade stirrers Downward/Upward flow C22 (dia 45mm) | Sweep dia: 45mm Hole Dia: 8mm | 31-RC
32 | Pitch blade stirrers Downward/Upward flow Glass (Shaft :425mm; dia 60mm) | Shaft length: 425 mm Sweep Dia: 60mm Hole Dia: 8mm | 32-RC
33 | Anchor stirrer in Stainless steel | Height:55mm Blade width:10mm Total sweep dia: 75mm including blade width 10mm each Thickness:1.5mm Centric hole dia: 8mm | 33-RC
34 | Anchor stirrer in C-22 | Height:55mm Blade width:10mm Total sweep dia: 75mm including blade width 10mm each Thickness:1.5mm Centric hole dia: 8mm | 34-RC
35 | AP01-1 Anchor stirrer glass (70mm) | Sweep dia: 75mm Length: 440mm Height: 90mm | 35-RC
Dust Explosion with Minimum Ignition Energy
36 | Acrylic Modified Hartmann Tube. | Height: 31.4 c.m Dia outer: 7.2 c.m Dia inner: 6.4 c.m Thick ness:0.4(edges)-0.6 (Inside) c.m Along with 2 side holes. | 36-MI
37 | MIE brass electrodes Hartman | MOC:Brass | 37-EL
BURNING BEHAVIOUR TEST APPARATUS
38 | Platinum wire or Platinum Wire Temper annealed (1mm dia x 0.1m length) | diameter 1.0mm OD (0.1cm) length 100mm(10cm) grip7mm of each end leaving 86mm in free air quality0.995 or better (100mm resistance 0.135ohms/meter and for 86mm 0.0116ohms) | 38-BB
39 | Quartz plate or Non porous plate | square 15x15cm Thickness:0.5mm | 39-BB
40 | Sample holder | length 6.5cm | 40-BB
41 | Cylindrical Glass tube for lütolf | ID: 4.4cm OD: 5.0cm Thickeness: 0.3mm Length: 12cm | 41-BB
POWDER VOLUME RESISTIVITY TEST APPARATUS
42 | Glass Stoppers (>45% humidity test did not pass) (the llower the humiditgreat chance to pass the test) | Length : 4cm Width : 0.5cm ambient humidity:40% setteling time:120sec MOC: Quartz | 42-PV
MINIMUM IGNITION TEMPERATURE APPARATUS
43 | THERMO COUPLE EXTENSION CABLES | K-type thermocouple MOC: SS | 43-MT
44 | Furnace test tubes | Tube material : quartz/Ceramic tube Tube position : Horizantal Heating zone length : 205mm Tube diametere : 40mm | 44-MT
45 | K TYPE T-COUPLE TWIN 1.5 200mm (Stainless steel) | Length: 200 mm Thickness: 1.5 mm MOC: SS | 45-MT-SS
| K TYPE T-COUPLE TWIN 1.5 200mm (Inconel) | Length: 200 mm Thickness: 1.5 mm MOC: Inconel | 45-MT-In
46 | K TYPE T-COUPLE SINGLE 1.5 200mm (Hastelloy) | Length: 200 mm Thickness: 1.5 mm MOC: Hastelloy | 46-MT-Ha
| K TYPE T-COUPLE SINGLE 1.5 200mm (Stainlee steel) | Length: 200 mm Thickness: 1.5 mm MOC: SS | 46-MT-SS
| K TYPE T-COUPLE SINGLE 1.5 200mm (Inconel) | Length: 200 mm Thickness: 1.5 mm MOC: Inconel | 46-MT-In
LAYER IGNITION TEMPERATURE APPARATUS
47 | K TYPE T-COUPLE SINGLE 1.5 200mm (Sample Thermocouple) (one is for plugging into the rear of the hotplate controller) | Length: 200 mm Thickness: 1.5 mm | 47-LI
48 | LIT rings stainless steel 5mm | 100mm diameter and 5mm high (Thickness 5mm±0.1mm OD: 100mm) | 48-LI
49 | LIT rings stainless steel 12.7mm | 100mm diameter and 12.5-12.7mm high (thickness 12.7mm OD: 100mm) | 49-LI
50 | LIT rings stainless steel 15mm | 100mm diameter and 15mm high (Thickness 15mm OD: 100mm) | 50-LI
51 | LIT rings stainless steel 8mm | 100mm diameter and 8mm high (Thickness 8mm OD: 100mm) | 51-LI
DSC
52 | High Pressure 20uL Gold Plated Crucible (DSC-M20) | Crucible, M20 Gold Plating: 10 µm, Internal volume: 20 μl | 52-DS-20
| High Pressure 40uL Gold Plated Crucible | Mass: ~1.22 g; Height: 5.5 mm; Diameter: 6.8 mm; Volume: ~40 microliters | 52-DS-40
53 | SS-Coated Crucible DSC F50 | Mass: ~1.4 g; Dimensions (height/diameter): 5.9 mm / 7.0 mm Sealing pressure: 4kN; Max operation pressure: 217 bar; Max operation temp; 400°C; Internal volume: 50 μl | 53-DS
54 | Crucible with bottom pin, gold plating: 5 μm | Mass: ~1.50g; Dimensions (height/diameter): 5.9 mm / 7.0 mm. Sealing pressure: 10kN. Max operation pressure: ~200 bar. Max operation temp; 400°C. Internal volume: ~50 μl | 54-DS
55 | Crucible, gold plating: 5 μm | Mass: ~1.50g; Dimensions (height/diameter): 5.9 mm / 7.0 mm. Sealing pressure: 10kN. Max operation pres: ~200 bar. Maxoperation temp; 400°C. Internal volume: ~50 μl | 55-DS
56 | Tzero Aluminum pan with Tzero lid | MOC: Aluminium | 56-DS-PN 56-DS-LD
57 | Tzero Aluminum pan with Tzero Hermitic lid | MOC: Aluminium | 57-DS-PN 57-DS-LD
U-tube manometer
| Gas burette transducer assembly | UNIK 5000 Series Presure Transducer Range:0-350 M Bar Drunk&6091847 | 58-PT
59 | Powder train mould | length 4cm width 2cm Thickness 2mm | 59-BB |  | Metal
60 | Silicon Oil | CST-10 CST-20 | 60-SIL-01
61 | Silicon Oil | High Temparature Silicon Oil Range:250 to 320 Deg | 61-SIL-01
61 | Teflon sensors | MOC:Teflon PT-100 -70 to 300 Deg | 61-PT-100-TL
62 | Glass sensors | MOC:Glass PT-100 -70 to 300 Deg | 62-PT-100-GL
Name of the person
Date
If any queries
15.0cm
15.0cm
8.5cm
5.5cm
0.5cm
2.4cm
2.2cm
0.3cm
4.0cm
ID 4.4cm
12.0cm
ID 4.4cm
OD 5.0cm
4.2cm
1.2cm
2.0cm
4.0cm
1.4cm